ESS C109/C209 Isotope Geochemistry HW2

Due April 23, 2007

Part 1: The decay equation.

- Show that the relation:

          N = N0e–t

is a solution to the equation for spontaneous radioactive decay:

          dN/dt = –N

How does  relate to the half-life, t1/2? How does it relate to the mean lifetime of N?

- In the previous homework you learned that 232Th decays to 208Pb + 6x4He, and that the mineral zircon can contain a small amount of thorium when it crystallizes. Let’s take advantage of these properties:

  - What is the half-life, mean lifetime, and decay constant of 232Th?

  - If a zircon grain contains 1x10–4 g(232Th)/g(Zircon), how many atoms(232Th)/g(Zircon) are there?

  - How rapidly is the number of 232Th atoms changing (in atoms/g(Zircon)/sec)?

  - How rapidly is the number of 208Pb atoms changing, if you assume that all of the intermediate nuclei are in secular equilibrium?

  - How rapidly is the number of 4He atoms changing, if you assume that all of the intermediate nuclei are in secular equilibrium?

  - Plot the concentrations of 232Th, 208Pb, and 4He vs. time, out to 4.6 billion years after the zircon crystallizes. Assume that no helium and lead are present in the crystal initially, and all decay products remain in the crystal.

  - 40K undergoes a branched decay, with most atoms decaying to 40Ca (via – emission) and some decaying to 40Ar (via e– capture). Describe a crystal that you might use to measure the relative probabilities of these two decay mechanisms: How much potassium, calcium, and argon should this ideal crystal have when it forms? What measurements do you make to determine the probabilities?

- One of the intermediate nuclei formed during decay of 238U to 206Pb + 8x4He is 234U. Another is 230Th. The first daughter, 234Th, has a very short half-life.

  - If a uranium-bearing crystal is in secular equilibrium, what is the 230Th/234U ratio? What is the 234Th/238U ratio?

  - Using equation 3.19 from Faure, plot the evolution of the abundance of 234Th with time to 1 year, starting from an initial condition of 100% 238U. How long does it take for the 234Th/238U ratio to reach 50% of the secular equilibrium value? 90%? Compare these times with the half-life of 234Th.

Part 2: Mass spectrometry.

- Isotopic abundances are typically (but not always) analyzed using a mass spectrometer. The most common procedure for operating one of these instruments is to ionize the sample, accelerate the ions with an applied voltage, and then pass the ion beam through a magnetic field, which bends the beam according to its mass/charge ratio (Faure, Ch. 4.4). This section is intended to help you become familiar with the basic principles of mass spectrometry.

  - The Thermo-Finnegan Neptune is a mass spectrometer with an accelerating voltage of 104 V (=10 kV), and a flight tube with 27 cm radius of curvature (i.e., grey area in the cartoon). What does the magnet strength need to be for 206Pb+ ions to fly to the detectors at the end of the flight tube?

  - With this mass spectrometer, voltage, and magnetic field strength, what will the radius curvature of a 207Pb+ ion be? How far apart will the 207Pb+ and 206Pb+ beams be when they have bent through an angle of 90º (yes, the deflection angle in the cartoon is much less than 90º)?

  - When an ion beam reaches the detectors, the charge of each ion is sent through a circuit with a voltmeter and resistor. The number of ions impacting each detector is measured by the voltmeter, using Ohm’s law:

I = V/R

where V is the measured voltage (this is not the same as the accelerating voltage in the flight tube!), I is the ion current (in Amperes), and R is the resistance of the resistor (in Ohms). Given this relation, should the resistance be increased or decreased to maximize the measured voltage from a weak ion beam?

  - During a Pb-isotope measurement session, you notice that the measured voltage for 206Pb+ is 1.1 V, on a detector with a 1011 Ohm resistor. How many ions are striking this detector each second? Express the answer in Amperes and ions/sec.

- There are many types of isotope-ratio mass spectrometers, designed to analyse different elements, and different types of samples. Thermal ionization is commonly used for lithophile and siderophile elements, because they typically occur as solids, and most will take on positive oxidation states easily if they are vaporized from a metal filament at high temperature. Inductively coupled plasma mass spectrometers (like the Neptune) use an Ar+-bearing plasma to ionize samples, which can help with elements like siderophiles that don’t ionize easily (Ar+ really wants to get an electron back, and will steal one from just about any atom that gets close – except He and Ne). It works well with many lithophile and chalcophile elements as well. Gas-source mass-spectrometers use a hot filament to ionize a sample introduced as a room-temperature gas. Using Goldschmidt’s periodic table, which types of instrument would you choose to analyze the isotopic compositions of each element in this list?

  - H

  - He

  - C

  - O

  - Ar

  - Nd

  - Os

  - Pb

  - U